BYM 501E FUNDAMENTALS OF BIOMEDICAL ENGINEERING (13735)

# Prof.Dr. İnci ÇİLESİZ

Final Examination ( 19 January 2012 ( 12:00-14:00

- What instruments (multimeter, oscilloscope, etc) would you use and how would you design measurements to measure dynamic properties of a biomedical measurement system? Which properties would you measure? Why? (15 points)

- Compare and contrast (you may think of blood tests, biopsy results, and alike)

  - sensitivity vs. specificity (8 points)

  - accuracy vs. precision (8 points)

- What is an instrumentation amplifier? Which bio-electrical signals are monitored best using an instrumentation amplifier? Why? (10 points)

- What is an action potential? In what ways can an “action potential” be conducted? (8 points)

- Show mathematically, that by using the augmented leads, detected bioelectric signal amplitude is increased 50% as compared to unipolar frontal plane leads without effecting the direction of the lead vector? (10 points)

- Explain briefly the function of driven-right-leg circuit. (6 points)

- Correlate heart sounds with electrical and mechanical events of the cardiac cycle on a diagram showing time evolution of (i) aortic and (ii) left ventricular blood pressures, (iii) EKG signal and (iv) the heart sounds (at least the major two!). (12 points)

- Compare and contrast macroshock vs. microshock in terms of electrical hazards in a clinical environment. (4 points)

- Is an electrode made of stainless steel polarizable or non-polarizable? Why? (5 points)

From your PROJECTS: (3 points each, 24 points total)

- What can a pulse oximeter not measure?

- Which biological data can be remotely measured?

- What is the most important unit in a totally artificial heart?

- Which cells in the pancreas secrete insulin?

- What is neural plasticity?

- What do you think is the main advantage of a surgical robot like ROBODOC?

- What is the average spatial resolution of MEG/MCG systems?

- Which frequency range is more likely to cause long term damage on human body and why?