BYM 501E FUNDAMENTALS OF BIOMEDICAL ENGINEERING (10776)

# İnci ÇİLESİZ

Final Examination ( 10 January 2011 ( 9:00-11:00

PART A – CLOSED BOOK

- What instruments would you use and how would you design your measurements to measure major static and dynamic properties of a biomedical measurement system. (10 points)

- Define, compare and contrast (advantages vs. disadvantages, etc.) the following terms in terms of biomedical measurements and instrumentation and provide examples (e.g., name instruments, devices, methods) for each set of terms (i) direct / indirect; (ii) invasive / non-invasive; and (iii) intra-corporeal / extra-corporeal. (3x3 points)

- What is an action potential? Why is it necessary for the ventricular action potential to have a relatively long refractory period? (5 points)

- Correlate heart sounds with electrical and mechanical events of the cardiac cycle on a diagram showing time evolution of (i) aortic and (ii) left ventricular blood pressures, (iii) EKG signal and (iv) the heart sounds (at least the major two!). (12 points)

- Explain briefly the function of driven-right-leg circuit. (6 points)

- Show volume ranges of healthy lungs on a diagram and explain (i) the functional meaning of different volumes and (ii) how different volumes are measured using a spirometer. (2x4 points)

PART B – OPEN BOOK

- What is an instrumentation amplifier? Which bio-electrical signals are monitored best using an instrumentation amplifier? Why? (10 points)

- What position of the cardiac vector will give identical signals in leads I and II? How does the lead III signal look like for this orientation of the cardiac vector? How do the leads aVR and aVF signals look like for this orientation of the cardiac vector? (15 points)

- Assume you are a staff biomedical engineer in a fully equipped hospital. One day, a patient with acute visual problems is brought into the emergency room. You are informed that the patient has been poisoned. There are no doctors around and you are called to take charge of the situation. What would you test and/or monitor, what action(s) would you take, why? (15 points)

- Solve Problem 14.2 in the book. (10 points)