BYM 501E FUNDAMENTALS OF BIOMEDICAL ENGINEERING (13046)

# İnci ÇİLESİZ

Final Examination ( 8 January 2009 ( 14.00-16.00

## PART A – CLOSED BOOK

- How would you measure major static and dynamic properties of a biomedical measurement system?

- What is an action potential? How is an “action potential” conducted?

- Compare and contrast macroshock vs. microshock in terms of electrical hazards in a clinical environment.

- Sketch and explain the function of driven-right-leg circuit.

- Correlate heart sounds with electrical and mechanical events of the cardiac cycle on a diagram showing time evolution of

  - aortic and

  - left ventricular blood pressures,

  - EKG signal

  - heart sounds (at least the major two!).

- Show volume ranges of healthy lungs on a diagram and explain briefly how different volumes are measured using a spirometer.

## PART B – OPEN BOOK

- What is an instrumentation amplifier? Which bio-electrical signals are monitored best using an instrumentation amplifier? Why?

- Sketch the diagram of a biomedical optical instrument (See Chapter 2). Show mathematically what you would measure using this instrument? How would you calibrate this instrument? Why?

- How and why is plethysmography useful in biomedical diagnostics?

- You have two transducers for a Doppler US flowmeter system (See Figure 9.8). They are inclined an angles θ and φ to the flow axis. Derive a formula for the detected Doppler shift.